## Brisbane Solar Power System Ret
Perth Solar Power System ROI Calculator (Enter values in light blue boxes to change) |  | Average daily system Production (kWh) | Daily self-consumption (kWh) | Daily solar export (kWh) | Daily electricity bought from grid (kWh) | Daily savings from self-consumption ($) | Daily savings from solar export ($) | Total daily savings ($)
System Size (kW) | 5 | 20 | 17 | 3 | 2.1781 | 4.08 | 0.21 | 4.29
Feed-in Tariff | 0.07
Cost of Electricity | 0.24 | Quarterly electricity bought from grid (kWh) | Quarterly self-consumption (kWh) | Quarterly solar export (kWh) | Quarterly electricity bought from grid (kWh) | Quarterly savings from self-consumption ($) | Quarterly savings from solar export ($) | Total quartley savings ($)
Quarterly household energy usage (kWh) | 1750 | 198.75 | 1551.25 | 273.75 | 198.75 | 372.3 | 19.1625 | 391.4625
Average daily household energy usage (kWh) | 19.1781
Self-consumption vs Export e.g. (0.5 = 50%) | 0.85 | Number of years to pay off | Annual ROI (%) | Annual Savings ($)
Average Daily Sun Hours | 4 | 8.3022 | 12.04% | 1565.85
Efficiency factor | 0.9 | © 2012 Solar Choice, Australia's Solar Energy Brokers
Cost of system | 13000